# Lime Wood Hotel & Spa

## Staff House Boiler Room - Wilo Equipment Technical Dossier

Equipment extracted from the current asset register.

| Asset ID | Manufacturer | Model | Serial Number |
| --- | --- | --- | --- |
| P/SH/1 | WILO | Top-E 25/1-7 | 2031550/07W14 |
| P/SH/2 | Wilo | Yonos MAXO 25/0.5-7 | 2120639/2025W11 |
| PU/SH/2 | Wilo | 255D | B05062278 |
| EV/SH/2 | Wilo | XT-600V | 53027 |
| P/SH/9 | Wilo | Stratos 40/1-8 | 2030570/07W24 |
| P/SH/13 | WILO | Top-Z 25/6 | 2045521/18W51 |
| P/SH/5 | WILO | LT4 | 2041714/07W19 |
| P/SH/6 | Wilo | IE5 PM Drive | 346 3/2960 |
| P/SH/7 | Wilo | IP-E 50/105-0.75/2 | 2258820/21W07 |
| P/SH/8 | WILO | IE5 PM Drive | 318 0.7/3000 |
| P/SH/3 | Wilo | IP-E 80/105-3/2-IE4 | 2153829/20W21 |
| P/SH/4 | WILO | IP-E 80/105-3/2-IE4 | 2153434/15W21 |

## General Maintenance Procedures

This section applies to all Wilo circulation pumps listed above unless superseded by the specific OEM manual for that model.