# Lime Wood Hotel & Spa

## Grundfos Pump Technical Dossier

Staff House Boiler Room
Generated from the current asset register.

## Asset Register Extract

| Asset ID | Manufacturer | Model | Serial No. | Location | Notes |
| --- | --- | --- | --- | --- | --- |
|  | Grundfos | p/sh/11 | ups 15 - 50 | Staff House Boiler Room |  |

## System Function

Grundfos circulation pumps provide primary or secondary water circulation to maintain system flow and temperature.

## Routine Maintenance

Weekly visual inspection; monthly electrical and vibration checks; annual inspection of bearings, seals (where fitted), insulation resistance and pump performance.

## Commissioning

Verify rotation, vent pump, confirm flow direction, record amperage and operating pressure.

## Fault Finding

No flow: airlock or seized rotor. Noise: cavitation or bearing wear. Trips: electrical overload. Low performance: blocked strainer or incorrect speed.

## Recommended Critical Spares

Seal kits, terminal module, impeller, bearings (where applicable), gaskets and isolation valve seals.

## Engineer Notes

Use the exact Grundfos model manual matching each serial number before changing parameters or replacing components.